|  |
| --- |
| “Redrawing interval…” command |
| **Purpose**  **“Redrawing interval…”** command is intended for updating diagram window items in time. |
| Select **“Redrawing interval…”** command in **“View”** tab of **the** project **Diagram window** to activate the command.  On activation of **“Redrawing interval…”** command a dialogue window will appear on top of the **Diagram window** to enter a required redrawing interval in ms.    Enter the selected value in ms and press **“OK”** key to set up a new redrawing interval.  **Recommendations for application in the process of work:**   1. Redrawing intervals shall be set up prior to commencement of work with the project. 2. Recommended redrawing interval for the project diagram window lies within the range from 40 ms to 200 ms. |